## cluster
集群名称 | FAS8300 | 节点数量 | 2 | Cluster IP | 192.168.11.211 | NTP服务器 | 192.168.11.60 |  |  |  | 当前时间 | Asia/Shanghai | 2024-03-28 09:17
Node_Info
Vserver_Info | Node_Type | ONTAP_Version | SN | HA Partner | Uptime | SP IP | 延迟情况 | CPU性能 | IOPS | disk_read | disk_write | disk_util | license | SP_vserion | sp最新版本 | DQP | DQP最新版本
FAS8300-01 | FAS8300 | 9.12.1P4 | 952310001668 | FAS8300-02 | 49 days 00:21 | 192.168.11.214 | 782 | 1% | 170 | 1999 | 26391 | 4% | NFS CIFS iSCSI FCP SnapRestore FlexClone NVMe_oF S3 | 13.8 | BMC 13.10P1 |  | 20230501
FAS8300-02 | FAS8300 | 9.12.1P4 | 952310000145 | FAS8300-01 | 49 days 00:19 | 192.168.11.215 | 0 | 1% | 239 | 382 | 340 | 1% | NFS CIFS iSCSI FCP SnapRestore FlexClone NVMe_oF S3 | 13.8 | BMC 13.10P1 |  | 20230501
Shelf_Info
序号 | 型号 | ID | SN | IOM | disk_count | FW | 最新的FW
1 | DS224-12 | 1.0 | SHJSG2311000108 | IOM12B | 24 | 0120,0120 | 141
2 | DS224-12 | 1.1 | SHJSG2325000100 | IOM12B | 24 | 0120,0120 | 141
3 | DS224-12 | 1.2 | SHJSG2325000134 | IOM12B | 12 | 0120,0120 | 141
disk_Info
型号 | disk_count | disk_size
X343_TA15E1T8A10 | 59 | 1800 GB
Vserver_Info
Vserver_name | admin-state | operational-state | allowed-protocols | running-protocols
svm0 | running | running | nfs,cifs,fcp,iscsi,ndmp,s3 | nfs v3,nfs v4.0,nfs v4.1

## disk_Info
序号 | disk | model | disk_size | type | power_on_hours | serial-number | rpm | size | 坏道 | 使用寿命% | FW | 最新FW | 是否升级
1 | 1.0.0 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1M6F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
2 | 1.0.1 | X343_TA15E1T8A10 | 1.64TB | SAS | 6278 | 13C0A19NF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
3 | 1.0.2 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1FRF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
4 | 1.0.3 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1EBF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
5 | 1.0.4 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1DYF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
6 | 1.0.5 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1FMF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
7 | 1.0.6 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1D8F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
8 | 1.0.7 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1EMF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
9 | 1.0.8 | X343_TA15E1T8A10 | 1.64TB | SAS | 6278 | 13C0A1E4F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
10 | 1.0.9 | X343_TA15E1T8A10 | 1.64TB | SAS | 6278 | 13C0A19JF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
11 | 1.0.10 | X343_TA15E1T8A10 | 1.64TB | SAS | 6277 | 13C0A1D7F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
12 | 1.0.11 | X343_TA15E1T8A10 | 1.64TB | SAS | 6278 | 13C0A1EDF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
13 | 1.0.12 | X343_TA15E1T8A10 | 1.64TB | SAS | 6279 | 13C0A1P0F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
14 | 1.0.13 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1JSF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
15 | 1.0.14 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1L7F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
16 | 1.0.15 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1LYF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
17 | 1.0.16 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1KVF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
18 | 1.0.17 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1J7F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
19 | 1.0.18 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1JGF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
20 | 1.0.19 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1NSF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
21 | 1.0.20 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1CLF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
22 | 1.0.21 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A19MF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
23 | 1.0.22 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1GPF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
24 | 1.0.23 | X343_TA15E1T8A10 | 1.64TB | SAS | 6280 | 13C0A1ESF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
25 | 1.1.0 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A129F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
26 | 1.1.1 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A15KF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
27 | 1.1.2 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A130F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
28 | 1.1.3 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A13GF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
29 | 1.1.4 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A169F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
30 | 1.1.5 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A134F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
31 | 1.1.6 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A15HF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
32 | 1.1.7 | X343_TA15E1T8A10 | 1.64TB | SAS | 6299 | 53X0A142F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
33 | 1.1.8 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A14NF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
34 | 1.1.9 | X343_TA15E1T8A10 | 1.64TB | SAS | 6299 | 53X0A15GF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
35 | 1.1.10 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A13DF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
36 | 1.1.11 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A12ZF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
37 | 1.1.12 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A138F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
38 | 1.1.13 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A12FF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
39 | 1.1.14 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A146F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
40 | 1.1.15 | X343_TA15E1T8A10 | 1.64TB | SAS | 6300 | 53X0A152F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
41 | 1.1.16 | X343_TA15E1T8A10 | 1.64TB | SAS | 6297 | 53X0A14KF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
42 | 1.1.17 | X343_TA15E1T8A10 | 1.64TB | SAS | 6297 | 53X0A161F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
43 | 1.1.18 | X343_TA15E1T8A10 | 1.64TB | SAS | 6297 | 53X0A162F4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
44 | 1.1.19 | X343_TA15E1T8A10 | 1.64TB | SAS | 6298 | 53X0A15BF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
45 | 1.1.20 | X343_TA15E1T8A10 | 1.64TB | SAS | 6297 | 53X0A13YF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
46 | 1.1.21 | X343_TA15E1T8A10 | 1.64TB | SAS | 6298 | 53X0A14UF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
47 | 1.1.22 | X343_TA15E1T8A10 | 1.64TB | SAS | 6298 | 53X0A14MF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
48 | 1.1.23 | X343_TA15E1T8A10 | 1.64TB | SAS | 6298 | 53X0A14DF4VR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
49 | 1.2.0 | X343_TA15E1T8A10 | 1.64TB | SAS | 6306 | 53Q0A2HJF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
50 | 1.2.1 | X343_TA15E1T8A10 | 1.64TB | SAS | 6306 | 53Q0A2F2F4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
51 | 1.2.2 | X343_TA15E1T8A10 | 1.64TB | SAS | 6306 | 53Q0A2HXF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
52 | 1.2.3 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2GLF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
53 | 1.2.4 | X343_TA15E1T8A10 | 1.64TB | SAS | 6306 | 53Q0A2FGF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
54 | 1.2.5 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2FBF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
55 | 1.2.6 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2H0F4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
56 | 1.2.7 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2H1F4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
57 | 1.2.8 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2H2F4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
58 | 1.2.9 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2FLF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
59 | 1.2.10 | X343_TA15E1T8A10 | 1.64TB | SAS | 6310 | 53Q0A2FAF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y
60 | 1.2.11 | X343_TA15E1T8A10 | 1.64TB | SAS | 6307 | 53Q0A2GKF4UR | 10000 | 1800 GB | 0 |  | NA01 | NA02 | Y

## Aggr
序号 | aggr_name | state | ISroot | disk_type | diskcount | raidtype | maxraidsize | ISmirror | node | availsize | size | usedsize | percent-used | volcount
1 | aggr0_FAS8300_01 | online | true | hdd | 10 | raid_dp | 16 | false | FAS8300-01 | 7.75GB | 159.9GB | 152.1GB | 95% | 1
2 | aggr0_FAS8300_02 | online | true | hdd | 10 | raid_dp | 16 | false | FAS8300-02 | 7.75GB | 159.9GB | 152.1GB | 95% | 1
3 | node1_aggr1 | online | false | hdd | 40 | raid_dp | 24 | false | FAS8300-01 | 1.22TB | 52.49TB | 51.28TB | 98% | 3
4 | node2_aggr1 | online | false | hdd | 18 | raid_dp | 18 | false | FAS8300-02 | 3.42TB | 23.53TB | 20.11TB | 85% | 3
|  |  |  | 总空间(未统计root aggr) | 76.02TB
|  |  |  | 可用空间(未统计root aggr) | 4.64TB
|  |  |  | 已用空间(未统计root aggr) | 71.39TB

## Vol
序号 | SVM | VolumeName | AggregateName | 总空间 | 可用空间 | 状态 | ExtendedVolumeStyle | JunctionPath | VolumeType | Creation Time | FR空间预留 | SG精简 | FilesUsed | TotalFiles | 文件数量%
1 | FAS8300-01 | vol0 | aggr0_FAS8300_01 | 151.3GB | 87.72GB | online | flexvol | - | RW | Jul 10 2023 | 100% | volume(非精简) | 235925 | 4709624 | 5.01%
2 | FAS8300-02 | vol0 | aggr0_FAS8300_02 | 151.3GB | 89.07GB | online | flexvol | - | RW | Jul 10 2023 | 100% | volume(非精简) | 276268 | 4709624 | 5.87%
3 | svm0 | eda | node2_aggr1 | 18TB | 2.29TB | online | flexvol | /eda | RW | Jul 10 2023 | 100% | volume(非精简) | 19425871 | 59999998 | 32.38%
4 | svm0 | home | node2_aggr1 | 1TB | 728.4GB | online | flexvol | /home | RW | Jul 10 2023 | 100% | volume(非精简) | 2106665 | 21251126 | 9.91%
5 | svm0 | misc | node2_aggr1 | 1TB | 410.8GB | online | flexvol | /misc | RW | Jul 10 2023 | 100% | volume(非精简) | 152270 | 21251126 | 0.72%
6 | svm0 | proj | node1_aggr1 | 50.50TB | 11.49TB | online | flexvol | /proj | RW | Jul 10 2023 | 100% | volume(非精简) | 56785666 | 203999989 | 27.84%
7 | svm0 | repos | node1_aggr1 | 500GB | 414.0GB | online | flexvol | /repos | RW | Jul 11 2023 | 100% | volume(非精简) | 45995 | 21251126 | 0.22%
8 | svm0 | svm0_root | node1_aggr1 | 1GB | 970.7MB | online | flexvol | / | RW | Jul 10 2023 | 100% | volume(非精简) | 107 | 31122 | 0.34%
|  |  | 总空间 | 70.99TB
|  |  | 非精简空间 | 70.99TB
|  |  | 精简空间 | 0.0TB

## 存储资源
序号aggr | aggr_name | node | diskcount | volcount | size | usedsize | availsize | disk_type | maxraidsize | ISmirror | raidtype | percent-used | ISroot
| 序号vol | AggregateName | SVM | VolumeName | 状态 | 总空间 | 可用空间 | ExtendedVolumeStyle | JunctionPath | VolumeType | Creation Time | FractionalReserve空间预留 | SpaceGuarantee 精简
|  | 序号lun | SVM | volname | LunName | lun size | lun os | 精简配置space-reserve | igroup | used_size | create_time | State | Serial Number (Hex)
1 | aggr0_FAS8300_01 | FAS8300-01 | 10 | 1 | 159.9GB | 152.1GB | 7.75GB | hdd | 16 | false | raid_dp | 95%
| 1、1 | aggr0_FAS8300_01 | FAS8300-01 | vol0 | online | 151.3GB | 87.72GB | flexvol | - |  | Jul 10 2023 | 100% | volume(非精简)
2 | aggr0_FAS8300_02 | FAS8300-02 | 10 | 1 | 159.9GB | 152.1GB | 7.75GB | hdd | 16 | false | raid_dp | 95%
| 2、1 | aggr0_FAS8300_02 | FAS8300-02 | vol0 | online | 151.3GB | 89.07GB | flexvol | - |  | Jul 10 2023 | 100% | volume(非精简)
3 | node1_aggr1 | FAS8300-01 | 40 | 3 | 52.49TB | 51.28TB | 1.22TB | hdd | 24 | false | raid_dp | 98%
| 3、1 | node1_aggr1 | svm0 | proj | online | 50.50TB | 11.49TB | flexvol | /proj |  | Jul 10 2023 | 100% | volume(非精简)
| 3、2 | node1_aggr1 | svm0 | repos | online | 500GB | 414.0GB | flexvol | /repos |  | Jul 11 2023 | 100% | volume(非精简)
| 3、3 | node1_aggr1 | svm0 | svm0_root | online | 1GB | 970.7MB | flexvol | / |  | Jul 10 2023 | 100% | volume(非精简)
4 | node2_aggr1 | FAS8300-02 | 18 | 3 | 23.53TB | 20.11TB | 3.42TB | hdd | 18 | false | raid_dp | 85%
| 4、1 | node2_aggr1 | svm0 | eda | online | 18TB | 2.29TB | flexvol | /eda |  | Jul 10 2023 | 100% | volume(非精简)
| 4、2 | node2_aggr1 | svm0 | home | online | 1TB | 728.4GB | flexvol | /home |  | Jul 10 2023 | 100% | volume(非精简)
| 4、3 | node2_aggr1 | svm0 | misc | online | 1TB | 410.8GB | flexvol | /misc |  | Jul 10 2023 | 100% | volume(非精简)

## 端口
序号 | Vserver | lif | role | data_protocol | address | netmask | home_node | home_port | cur_node | cur_port | oper_status | ishome | admin_status | Failover | fcp_wwpn | Broadcast | 对端交换机 | 对端端口 | 对端IP | 描述
1 | Cluster | FAS8300-01_clus1 | cluster | none | 169.254.81.114 | 255.255.0.0 | FAS8300-01 | e0c | FAS8300-01 | e0c | up | true | up | Cluster |  | Cluster | FAS8300-02 FAS8300 | e0c | 169.254.119.132 | NetApp Release 9.12.1P4: Tue Jun 6 16:41:34 EDT 2023
2 | Cluster | FAS8300-01_clus2 | cluster | none | 169.254.52.122 | 255.255.0.0 | FAS8300-01 | e0d | FAS8300-01 | e0d | up | true | up | Cluster |  | Cluster | FAS8300-02 FAS8300 | e0d | 169.254.217.168 | NetApp Release 9.12.1P4: Tue Jun 6 16:41:34 EDT 2023
3 | Cluster | FAS8300-02_clus1 | cluster | none | 169.254.119.132 | 255.255.0.0 | FAS8300-02 | e0c | FAS8300-02 | e0c | up | true | up | Cluster |  | Cluster | FAS8300-01 FAS8300 | e0c | 169.254.81.114 | NetApp Release 9.12.1P4: Tue Jun 6 16:41:34 EDT 2023
4 | Cluster | FAS8300-02_clus2 | cluster | none | 169.254.217.168 | 255.255.0.0 | FAS8300-02 | e0d | FAS8300-02 | e0d | up | true | up | Cluster |  | Cluster | FAS8300-01 FAS8300 | e0d | 169.254.52.122 | NetApp Release 9.12.1P4: Tue Jun 6 16:41:34 EDT 2023
5 | FAS8300 | FAS8300-01_mgmt1 | node-mgmt | none | 192.168.11.212 | 255.255.255.0 | FAS8300-01 | e0M | FAS8300-01 | e0M | up | true | up | Default |  | Default | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/43 | - | unknown
6 | FAS8300 | FAS8300-02_mgmt1 | node-mgmt | none | 192.168.11.213 | 255.255.255.0 | FAS8300-02 | e0M | FAS8300-02 | e0M | up | true | up | Default |  | Default | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/44 | - | unknown
7 | FAS8300 | cluster_mgmt | cluster-mgmt | none | 192.168.11.211 | 255.255.255.0 | FAS8300-01 | e0M | FAS8300-01 | e0M | up | true | up | Default |  | Default | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/43 | - | unknown
8 | svm0 | lif_svm0_539 | data | nfs | 192.168.11.202 | 255.255.255.0 | FAS8300-02 | e0e | FAS8300-02 | e0e | up | true | up | Data |  | Data | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/40 | - | unknown
9 | svm0 | lif_svm0_925 | data | nfs | 192.168.11.201 | 255.255.255.0 | FAS8300-01 | e0e | FAS8300-01 | e0e | up | true | up | Data |  | Data | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/39 | - | unknown
10 | FAS8300-01 |  | SP |  | 192.168.11.214 | 255.255.255.0 | 192.168.11.1 | [9 empty] | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/43 | - | unknown
11 | FAS8300-02 |  | SP |  | 192.168.11.215 | 255.255.255.0 | 192.168.11.1 | [9 empty] | WuXiSwitch (f4:8e:38:34:4b:52) | Te1/0/44 | - | unknown

## NFS_CIFS_Info
vol_Info
序号 | Vserver | volume | aggr | node | size | used | junction-path | files-used | files | 占比% | security | police | protocol | 允许访问的IP
1 | svm0 | eda | node2_aggr1 | FAS8300-02 | 18TB | 15.35TB | /eda | 19425871 | 59999998 | 32.38% | unix | mucse | nfs3 | 192.168.21.0/24
2 | svm0 | home | node2_aggr1 | FAS8300-02 | 1TB | 244.4GB | /home | 2106665 | 21251126 | 9.91% | unix | mucse | nfs3 | 192.168.21.0/24
3 | svm0 | misc | node2_aggr1 | FAS8300-02 | 1TB | 562.0GB | /misc | 152270 | 21251126 | 0.72% | unix | mucse | nfs3 | 192.168.21.0/24
4 | svm0 | proj | node1_aggr1 | FAS8300-01 | 50.50TB | 37.50TB | /proj | 56785666 | 203999989 | 27.84% | unix | mucse | nfs3 | 192.168.21.0/24
5 | svm0 | repos | node1_aggr1 | FAS8300-01 | 500GB | 60.99GB | /repos | 45995 | 21251126 | 0.22% | unix | mucse | nfs3 | 192.168.21.0/24
6 | svm0 | svm0_root | node1_aggr1 | FAS8300-01 | 1GB | 2.07MB | / | 107 | 31122 | 0.34% | unix | mucse | nfs3 | 192.168.21.0/24
rule_Info
序号 | Vserver | policyname | ruleindex | protocol | rorule | rwrule | anon | superuser | clientmatch
1 | svm0 | default | 1 | any | any | any | 65534 | any | 0.0.0.0/0
2 | svm0 | mucse | 1 | nfs3 | any | any | 65534 | any | 192.168.11.0/24
3 | svm0 | mucse | 3 | nfs3 | any | any | 65534 | any | 192.168.21.0/24

## check_health
序号 | 检查内容 | 结果 | 描述 | 查看 | 异常描述(如有)
1 | 系统时间 | 状态正常 | 查看系统时间 | date
2 | 集群HA状态 | 状态正常 | 查看集群状态 | cluster show
3 | 节点状态 | 状态正常 | 查看节点运行状态 | node show
4 | 存储FAILOVER状态 | 状态正常 | 查看存储集群FAILOVER状态 | storage failover show
5 | 逻辑网络状态 | 状态正常 | 查看逻辑网络状态 | network interface show
6 | 端口聚合状态 | 未配置 | 查看端口聚合状态 | ifgrp show
7 | FC端口状态 | 未查询到相关日志 | 查看FC端口状态 | ucadmin show
8 | 磁盘聚合状态 | 状态正常 | 查看磁盘聚合状态 | aggr show
9 | 磁盘聚合组成状态 | 状态异常 | 查看磁盘聚合组成状态（包含raid类型、raid尺寸、磁盘数量、磁盘信息） | aggr show | node1_aggr1使用率98%， 超过建议值90%
10 | 热备磁盘状态 | 状态正常 | 查看热备磁盘状态，命令aggr show -s | aggr show -s
11 | 磁盘状态 | 状态正常 | 查看磁盘状态（磁盘类型、固件及PN号） | disk show
12 | 磁盘柜状态 | 状态正常 | 查看磁盘柜状态 | storage shelf show
13 | 盘柜组件状态 | 状态正常 | 查看磁盘柜状态,查看盘柜电源、风扇、SAS模块、SAS模块类型及固件状态 | 命令storage shelf show
14 | 查看IOM接口状态 | 状态正常 | 查看IOM接口状态 | storage port show
15 | 卷的空间状态 | 状态正常 | 查看卷的空间状态 | vol show
16 | 故障盘状态 | 状态正常 | 查看故障盘状态 | disk show -broken
17 | 存储硬件状态 | 状态正常 | 查看存储硬件状态 | run -node * sysconfig -a
18 | 存储LUN状态 | 未配置 | 查看存储LUN状态 | lun show
19 | LUN启动组状态 | 状态正常 | 查看LUN启动组状态 | igroup show -v
20 | LUN挂载状态 | 状态正常 | 查看LUN挂载状态 | lun show -m
21 | 卷nfs挂载状态 | 状态正常 | 查看卷nfs挂载状态 | vol show
22 | 卷cifs共享状态 | 状态异常 | 查看卷cifs共享状态 | cifs share show
23 | 存储子系统状态 | 状态正常 | 查看存储子系统状态 | system health subsystem show
24 | 存储Vserver状态 | 状态正常 | 查看存储Vserver状态 | vserver show
25 | 控制器硬件状态 | 状态正常 | 查看控制器硬件状态 | controller fru show
26 | 控制器扩展卡状态 | 状态正常 | 查看控制器扩展卡状态 | run -node * sysconfig -ac
27 | 控制器机箱状态 | 状态正常 | 查看控制器机箱状态 | chassis fru show
28 | 盘柜SAS链路状态 | 状态正常 | 查看盘柜SAS链路状态满足最佳实践 | run -node * sasadmin expander_map
29 | 存储文件系统inode消耗 | 状态正常 | 查看存储文件系统inode消耗状态 | df -i
30 | 卷快照状态 | 状态正常 | 查看卷快照状态 | snapshot list
31 | 快照镜像状态 | 未配置 | 查看快照镜像状态 | snapmirror show
32 | 磁盘多路径状态 | 状态正常 | 检查磁盘多路径状态 | run -node * storage show disk -p
33 | 磁盘坏道情况 | 状态正常 | 检查磁盘磁盘坏道情况，坏道数量大于20 | storage disk show
34 | SSD磁盘寿命情况 | 状态正常 | 检查SSD磁盘寿命情况，使用超过20% | storage disk show
35 | 内存情况 | 状态正常 | 检查内存条情况 | controller memory dimm show
36 | 控制器电源、风扇情况 | 状态正常 | 检查控制器电源、风扇 | service-processor show
37 | SP/BMC状态 | 状态正常 | 检查SP/BMC状态 | environment status
38 | 内核集群服务 | 状态正常 | 查看存储kcs-enable-takeover是否为true | cluster kernel-service config show
39 | 系统性能检查 | 状态正常 | 查看存储性能状态 | qos statistics latency show
40 | 链路检查 | 状态正常 | 检查链路是否正常 | * initiator show
41 | 紧急事件 | 状态正常 | 查看紧急事件 | event log show -severity alert
42 | 警报事件 | 状态异常 | 查看警报事件 | event log show -severity warning
43 | 警告事件 | 状态正常 | 查看警告事件 | event log show -severity error
44 | 错误事件 | 状态异常 | 查看错误事件 | metrocluster show

## event_ALERT
3/24/2024 00:15:05 FAS8300-01 ALERT vifmgr.lifs.noredundancy: No redundancy in the failover configuration for 1 LIFs assigned to node "FAS8300-01". LIFs: FAS8300:FAS8300-01_mgmt1
3/24/2024 00:15:05 FAS8300-02 ALERT vifmgr.lifs.noredundancy: No redundancy in the failover configuration for 1 LIFs assigned to node "FAS8300-02". LIFs: FAS8300:FAS8300-02_mgmt1

## event_ERROR
3/28/2024 02:38:52 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/28/2024 02:37:02 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/28/2024 01:38:50 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/28/2024 01:36:59 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/27/2024 02:25:02 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/27/2024 02:22:48 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/27/2024 01:24:59 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/27/2024 01:22:45 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/26/2024 01:38:50 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/26/2024 01:36:59 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/25/2024 01:46:50 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/25/2024 01:44:59 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 03:40:35 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (WEEKLY_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 03:36:25 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (WEEKLY_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 02:40:20 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 01:40:17 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 01:40:09 FAS8300-01 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-01 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/24/2024 00:15:05 FAS8300-01 ERROR vifmgr.lif.subnetMisconfig: LIFs in subnet 192.168.11.0/24 of IPspace "Default" are configured on ports in multiple broadcast domains: Data, Default
3/24/2024 00:15:05 FAS8300-02 ERROR vifmgr.lif.subnetMisconfig: LIFs in subnet 192.168.11.0/24 of IPspace "Default" are configured on ports in multiple broadcast domains: Data, Default
3/23/2024 02:16:45 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/23/2024 01:04:43 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/22/2024 02:36:50 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/22/2024 01:36:47 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.
3/21/2024 02:04:44 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (MANAGEMENT_LOG) NOTICE) was not posted to NetApp. The system will drop the message.
3/21/2024 01:04:42 FAS8300-02 ERROR asup.post.drop: AutoSupport message (HA Group Notification from FAS8300-02 (PERFORMANCE DATA) NOTICE) was not posted to NetApp. The system will drop the message.